Detailní popis řešení

| Server 1 / nový VMWare server - 2CPU@6core, 96GB RAM, 2x 300GB disk v RAID1, 2-port FC HBA, NIC 2-port 1GBE, 3Y supp 24x7 24H CTR |
| --- |
| Quantity | Part Number | Description |
| 1 | 603718-B21 | HP BL460c G7 CTO Blade |
| 1 | 637406-L21 | HP BL460c G7 X5675 FIO Kit |
| 1 | 637406-B21 | HP BL460c G7 X5675 Kit |
| 1 | 637406-B21#0D1 | Factory integrated |
| 12 | 500662-B21 | HP 8GB 2Rx4 PC3-10600R-9 Kit |
| 12 | 500662-B21#0D1 | Factory integrated |
| 2 | 507127-B21 | HP 300GB 6G SAS 10K 2.5in DP ENT HDD |
| 2 | 507127-B21#0D1 | Factory integrated |
| 1 | 445978-B21 | HP NC360m Dual Port 1GbE BL-c Adapter |
| 1 | 445978-B21#0D1 | Factory integrated |
| 1 | 451871-B21 | HP BLc QLogic QMH2562 8Gb FC HBA Opt |
| 1 | 451871-B21#0D1 | Factory integrated |
| 1 | 339778-B21 | HP Raid 1 Drive 1 FIO Setting |
| 1 | UP741E | HP 3y 24x7 24h CTR BL4xxc Svr Bld HW Sup |
| Server 2 / nový VMWare server - 2CPU@6core, 96GB RAM, 2x 300GB disk v RAID1, 2-port FC HBA, NIC 2-port 1GBE, 3Y supp 24x7 24H CTR |
| Quantity | Part Number | Description |
| 1 | 603718-B21 | HP BL460c G7 CTO Blade |
| 1 | 637406-L21 | HP BL460c G7 X5675 FIO Kit |
| 1 | 637406-B21 | HP BL460c G7 X5675 Kit |
| 1 | 637406-B21#0D1 | Factory integrated |
| 12 | 500662-B21 | HP 8GB 2Rx4 PC3-10600R-9 Kit |
| 12 | 500662-B21#0D1 | Factory integrated |
| 2 | 507127-B21 | HP 300GB 6G SAS 10K 2.5in DP ENT HDD |
| 2 | 507127-B21#0D1 | Factory integrated |
| 1 | 445978-B21 | HP NC360m Dual Port 1GbE BL-c Adapter |
| 1 | 445978-B21#0D1 | Factory integrated |
| 1 | 451871-B21 | HP BLc QLogic QMH2562 8Gb FC HBA Opt |
| 1 | 451871-B21#0D1 | Factory integrated |
| 1 | 339778-B21 | HP Raid 1 Drive 1 FIO Setting |
| 1 | UP741E | HP 3y 24x7 24h CTR BL4xxc Svr Bld HW Sup |
| Server 3 / nový VMWare server pro test/vývoj/školící server -2CPU@6core, 96GB RAM, 2x 300GB disk v RAID1, 2-port FC HBA, NIC 2-port 1GBE, 3Y supp 24x7 24H CTR |
| Quantity | Part Number | Description |
| 1 | 603718-B21 | HP BL460c G7 CTO Blade |
| 1 | 637406-L21 | HP BL460c G7 X5675 FIO Kit |
| 1 | 637406-B21 | HP BL460c G7 X5675 Kit |
| 1 | 637406-B21#0D1 | Factory integrated |
| 12 | 500662-B21 | HP 8GB 2Rx4 PC3-10600R-9 Kit |
| 12 | 500662-B21#0D1 | Factory integrated |
| 2 | 507127-B21 | HP 300GB 6G SAS 10K 2.5in DP ENT HDD |
| 2 | 507127-B21#0D1 | Factory integrated |
| 1 | 445978-B21 | HP NC360m Dual Port 1GbE BL-c Adapter |
| 1 | 445978-B21#0D1 | Factory integrated |
| 1 | 451871-B21 | HP BLc QLogic QMH2562 8Gb FC HBA Opt |
| 1 | 451871-B21#0D1 | Factory integrated |
| 1 | 339778-B21 | HP Raid 1 Drive 1 FIO Setting |
| 1 | UP741E | HP 3y 24x7 24h CTR BL4xxc Svr Bld HW Sup |
| Licence VMware vSphere 5 Enterprise / 6xCPU@6core, 3Y Basic supp. |
| Quantity | Description |
| 6 | VMware vSphere 5 Enterprise for 1 processor (with 64 GB vRAM entitlement per processor) |
| 6 | Basic Support/Subscription for VMware vSphere 5 Enterprise for 1 processor for 3 years |
| Rozsšíření diskového pole HP EVA 44000 / 1x FC Encl + 12x 600GB FC 15k disk + lic, 3Y supp 4h FIX 13x5 |
| Quantity | Part Number | Description |
| 1 | AG638B | HP M6412-A Fibre Channel Drive Enclosure |
| 12 | AJ872B | HP EVA M6412 600GB FC 15K Hard Drive |
| 1 | HA103A3 | HP 3y 4h 13x5 HW Support |
| 12 | HA103A3 13J | EVA 450-1TB HDD HW Supp |
| 1 | HA103A3 9DS | EVA M6412A FC Drive Enclosure Support |
| 1 | T5499B | HP Command View EVA4400 Upg to Unlim LTU |
| 1 | HA106A3 | HP 3y SW Support |
|  | HA103A3 13P | CV Upg to Unlim LTU SW Supp |
| 1 | HA124A1 | HP Technical Installation Startup SVC |
| 1 | HA124A1 5AS | HP Startup Command View EVA (CV EVA) Svc |
| RAM pro stávající 4x BladeServer VMware / doplnění na 96GB z 48GB (6*8GB) |
| Quantity | Part Number | Description |
| 24 | 500662-B21 | HP 8GB 2Rx4 PC3-10600R-9 Kit |
| Quantity | Part Number | Description |
| 1 | -- | 19" rack 42U, 600x900, skleněné dveře (stojanový rozváděč) |
| Rozšíření licencí HP Data Protector + podpora 3Y |
| Quantity | Part Number | Description |
| 1 | B6965BA | HP Data Prot On-line Backup Windows LTU |
| 1 | HA106A3 | HP 3y SW Support |
| 1 | HA106A3 1QL | HP Software 1QL Supp |
| Podpora výrobce CISCO na 3ks přepínačů WS-C2960S-24TS-L v rozsahu 1Y-8x5xNBD |
| Quantity | Part Number | Description |
| 3 | CON-SNT-2960S2TS | SMARTNET 8x5xNBD Cat 2960S Stk 24 GigE,4xSFP LAN Base |